{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["备注","项目目录","示例","5K单机"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"备注","index":0,"n_rows":38,"n_cols":3,"rows_kept":38,"cut":false,"hidden":false,"merged":[]}
["备注：\n1.项目目录必须维护，配置文件会保存在哪个路径下，叫什么名字。和Sheet名称对应。"]
[]
[]
[]
[]
[]
[]
[null,0,"Get无参数"]
[null,1,"写入单值，例如温度"]
[null,21,"写入质量/批号/牌号"]
[null,22,"写入工单/批号/牌号"]
[null,3,"选写单值，选柜"]
[null,4,"选写多值，工单信息下发，选柜，下批号/牌号信息"]
[null,5]
{"$rows_empty":7}
[null,"Api名称"]
[null,"接口备注"]
[null,"方法"]
[null,"读写间隔"]
[null,"是否检查"]
[null,"检查点位"]
[null,"写入点位"]
[null,"Post类型"]
[null,"Post参数"]
[null,"Post格式"]
[]
[]
[]
[]
[null,"模块名称"]
[null,"配置文件名称"]
[null,"Sheet名称"]

{"sheet":"项目目录","index":1,"n_rows":3,"n_cols":3,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["模块名称","配置文件名称","Sheet名称"]
["5000Test","5K回潮测试","示例"]
["单点5K","5K单机","5K单机"]

{"sheet":"示例","index":2,"n_rows":7,"n_cols":10,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
["Api名称","接口备注","方法","读写间隔","是否检查","检查点位","写入点位","Post类型","Post参数","Post格式"]
["LGetTest","测试Get备注","get",3000,"是",null,"LGetTest.F_CV=1/LTest.F_CV=0"]
["LPost1Test","测试Post写入单值备注；写温度值","post",3000,"否",null,"LPostTest.F_CV",1,null,18.5]
["LPost2Test","测试Post写入单值备注 质量/批号/牌号","post",3000,"否",null,"LPost1Test.F_CV/Branch.F_CV/BrandNum.F_CV",21,null,"{\"Weight\":123.5,BranchNo:\"\",BrandNo:\"\"}"]
["LPost3Test","测试Post写入单值备注 工单/批号/牌号","post",3000,"是",null,"LPost1Test.F_CV/Branch.F_CV/BrandNum.F_CV",22,null,"{\"GDNum\":\"YP01\",\"BranchNum\":\"\",\"BrandNum\":\"\"}"]
["LPost4Test","测试Post写入单值备注","post",3000,"是",null,"LPost1Test.F_CV=1/LPost2Test.F_CV=0\nLPost1Test.F_CV=1/LPost2Test.F_CV=0\nLPost1Test.F_CV=1/LPost2Test.F_CV=0",3,"YP01,YP02,YP03","YP01"]
["LPost5Test","测试Post写入单值备注","post",3000,"是",null,"BrandNum.F_CV/Branch.F_CV\nBrandNum.F_CV/Branch.F_CV\nBrandNum.F_CV/Branch.F_CV",4,"YP01,YP02,YP03","{\"GDNum\":\"YP01\",\"BranchNum\":\"\",\"BrandNum\":\"\"}"]

{"sheet":"5K单机","index":3,"n_rows":7,"n_cols":10,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
["Api名称","接口备注","方法","读写间隔","是否检查","检查点位","写入点位","Post类型","Post参数","Post格式"]
["MGetTest","测试Get备注","get",3000,"是",null,"LGetTest.F_CV=1/LTest.F_CV=0/LTest.F_CV=1"]
["MPost1Test","测试Post写入单值备注；写温度值","post",3000,"否",null,"LPostTest.F_CV",1]
["MPost2Test","测试Post写入单值备注 质量/批号/牌号","post",3000,"否",null,"LPost1Test.F_CV/Branch.F_CV/BrandNum.F_CV",21,null,"{\"Weight\":\"\",BranchNo:\"\",BrandNo:\"\"}"]
["MPost3Test","测试Post写入单值备注 工单/批号/牌号","post",3000,"是",null,"LPost1Test.F_CV/Branch.F_CV/BrandNum.F_CV",22,null,"{\"GDNum\":\"YP01\",\"BranchNum\":\"\",\"BrandNum\":\"\"}"]
["MPost4Test","测试Post写入单值备注","post",3000,"是",null,"LPost1Test.F_CV=1/LPost2Test.F_CV=0\nLPost1Test.F_CV=1/LPost2Test.F_CV=0\nLPost1Test.F_CV=1/LPost2Test.F_CV=0",3,"YP01,YP02,YP03"]
["MPost5Test","测试Post写入单值备注","post",3000,"是",null,"BrandNum.F_CV/Branch.F_CV\nBrandNum.F_CV/Branch.F_CV\nBrandNum.F_CV/Branch.F_CV",4,"YP01,YP02,YP03","{\"GDNum\":\"YP01\",\"BranchNum\":\"\",\"BrandNum\":\"\"}"]